## Sheet1
Date: | 2013-04-26 |  | Time: | 9:30 PM - 10:15 PM EST
Purpose: | Testing illumination level of PIL 1000
Equipment: | Prism Inflatable Light with 1000W metal halide lamp (110V, 60 Hz)
Lux Meter
Process: | Turned the PIL 1000 ON
Waited for 4 minutes for full illumination
Lux meter 4 feet high with sensor facing the light tower perpendicular to the ground
Lux Level was measured at various distances per the chart below
Distance | Illumination | Area of illumination (circular) at 3 lux (75 ft radius) - 17678 sq feet
(feet) | (Lux)
5 | 225
10 | 205
15 | 133
20 | 78
25 | 51
30 | 33
35 | 23
40 | 21
45 | 14
50 | 10
55 | 7
60 | 6
65 | 4
70 | 4
75 | 3